**Wiring Installation Qualification Form –Template for B-BC controllers (ETHERNET Interface only)**

IMPORTANT NOTE:

1. The content of all the screenshots must be easily read. Failure to provide properly captured and easy to read screenshot will result in a delay of the approval process.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Device Name** | **Fluke Report Cable ID** | **Digital Picture(s) of the device with the wall module****Label:**  | **Digital Picture(s) of the device cable label****Label:** | **Digital Picture(s) of the patch panel module****Label:**  | **Digital Picture(s) of the patch panel cable label****Label:**  | **Date / Initials** |
| EXAMPLE: 070\_DDC03 | 070\_DDC03 | cid:image002.jpg@01D27D4E.377BFF80Label: TO: Basement IT Room 44 | cid:image003.jpg@01D27D4E.377BFF80Label: TO: Basement IT Room 44 | cid:image004.jpg@01D27D4E.377BFF80Label: SIEMENS BAS | cid:image005.jpg@01D27D4E.377BFF80Label: TO: Mech Rm20, Basement, HTG/CLG 111DDC02 | 01-MAR-2017, JS |
|  |  |  |  |  |  |  |